## IED Information
Type | Model | Vendor | Product Version | Serial Number | Hardware Version | Software Version | Role | Order Code | IP Address | Subnet Mask | Default Gateway | MAC Address
Feeder Protection | ID_LD0_LPHD1_PHYNAM_MODEL | ABB | ID_LD0_LINF1_DEVREV_SETVAL | ID_LD0_LPHD1_PHYNAM_SERNUM | ID_LD0_LPHD1_PHYNAM_HWREV | ID_LD0_LPHD1_PHYNAM_SWREV | Protection Relay | ID_LD0_LDEV1_ORDRNUM_STVAL | ID_LD0_LDEV1_IPADDR_SETVAL | ID_LD0_LDEV1_IPADDRSUBNTW_SETVAL | ID_LD0_LDEV1_IPADDRGTW_SETVAL | ID_LD0_LDEV1_MAC1_SETVAL

## ID List
Parameter Name |  |  |  | ID | Value | Unit | Range | Description
System Settings
| Voltage Input | [6 empty] | Voltage (3U,VT): 1
|  |  | Primary Voltage | ID_LD0_UL1TVTR1_VRTG_SETMAG_F |  |  | MinValue - MaxValue
|  |  | Secondary Voltage | ID_LD0_UL1TVTR1_VRTGSCY_SETMAG_F |  |  | MinValue - MaxValue
|  |  | VT Ratio | Primary Voltage : Secondary Voltage
| Current Input | [6 empty] | Current (3I,CT): 1
|  |  | Primary Current | ID_LD0_IL1TCTR1_ARTG_SETMAG_F |  |  | MinValue - MaxValue
|  | ID_2 = 1A, ID_3 = 5A | Secondary Current | ID_LD0_IL1TCTR1_ARTGSCY_SETVAL |  |  | 1A/5A
|  |  | CT Ratio | Primary Current : Secondary Current
| Neutral Voltage Input | [6 empty] | Voltage (Uo,VT): 1
|  |  | Primary Voltage | ID_LD0_RESTVTR1_VRTG_SETMAG_F |  |  | MinValue - MaxValue
|  |  | Secondary Voltage | ID_LD0_RESTVTR1_VRTGSCY_SETMAG_F |  |  | MinValue - MaxValue
|  |  | Neutral VT Ratio | Primary Voltage : Secondary Voltage
| Neutral Current Input | [6 empty] | Current (Io,CT): 1
|  |  | Primary Current | ID_LD0_RESTCTR1_ARTG_SETMAG_F |  |  | MinValue - MaxValue
|  | ID_2 = 1A, ID_3 = 5A | Secondary Current | ID_LD0_RESTCTR1_ARTGSCY_SETVAL |  |  | 1A/5A
|  |  | Neutral CT Ratio | Primary Current : Secondary Current
| Rated Frequency | ID_2 = 1A, ID_3 = 5A |  | ID_LD0_LDEV1_HZSETSEL_SETVAL |  |  | 50Hz/60Hz | Rated frequency
| Active Group |  |  | ID_LD0_LLN0_SGCB_ACTSG |  |  | MinValue - MaxValue | Active group
Group 1
Phase Overcurrent
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_DPHLPTOC1_MOD_OPER_CTLVAL & ID_LD0_DPHLPTOC2_MOD_OPER_CTLVAL & ID_LD0_DPHHPTOC1_MOD_OPER_CTLVAL & ID_LD0_PHIPTOC1_MOD_OPER_CTLVAL |  |  | On/Off
|  | Level x | [5 empty] | DPHLPDOC1: 1
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_DPHLPTOC1_MOD_OPER_CTLVAL |  |  | On/Off
|  |  | Start Value | ID_LD0_DPHLPTOC1_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_5 or ID_15 = Definite Time ID_9 = Normal Inverse ID_10 = Very Inverse ID_12 = Extremely Inverse | Characteristic | ID_LD0_DPHLPTOC1_TMACRV_SETCHARACT_SG_1 |  |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_DPHLPTOC1_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
|  |  | Time Dial | ID_LD0_DPHLPTOC1_TMMULT_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_1 = Non Directional ID_2 = Forward ID_3 = Reverse | Directional | ID_LD0_DPHLPTOC1_DIRMOD_SETVAL_SG_1 |  |  | Non Directional/ Forward/ Reverse
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
|  | Level x | [5 empty] | DPHLPDOC2: 2
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_DPHLPTOC2_MOD_OPER_CTLVAL |  |  | On/Off
|  |  | Start Value | ID_LD0_DPHLPTOC2_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_5 or ID_15 = Definite Time ID_9 = Normal Inverse ID_10 = Very Inverse ID_12 = Extremely Inverse | Characteristic | ID_LD0_DPHLPTOC2_TMACRV_SETCHARACT_SG_1 |  |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_DPHLPTOC2_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
|  |  | Time Dial | ID_LD0_DPHLPTOC2_TMMULT_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_1 = Non Directional ID_2 = Forward ID_3 = Reverse | Directional | ID_LD0_DPHLPTOC2_DIRMOD_SETVAL_SG_1 |  |  | Non Directional/ Forward/ Reverse
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
|  | Level x | [5 empty] | DPHHPDOC1: 1
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_DPHHPTOC1_MOD_OPER_CTLVAL |  |  | On/Off
|  |  | Start Value | ID_LD0_DPHHPTOC1_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_5 or ID_15 = Definite Time ID_9 = Normal Inverse ID_10 = Very Inverse ID_12 = Extremely Inverse | Characteristic | ID_LD0_DPHHPTOC1_TMACRV_SETCHARACT_SG_1 |  |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_DPHHPTOC1_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
|  |  | Time Dial | ID_LD0_DPHHPTOC1_TMMULT_SETMAG_F_SG_1 |  |  | Trip/Alarm
|  | ID_1 = Non Directional ID_2 = Forward ID_3 = Reverse | Directional | ID_LD0_DPHHPTOC1_DIRMOD_SETVAL_SG_1 |  |  | Non Directional/ Forward/ Reverse
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
|  | Level x | [5 empty] | PHIPTOC1: 1
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_PHIPTOC1_MOD_OPER_CTLVAL |  |  | On/Off
|  |  | Start Value | ID_LD0_PHIPTOC1_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_5 or ID_15 = Definite Time ID_9 = Normal Inverse ID_10 = Very Inverse ID_12 = Extremely Inverse | Characteristic | Fixed | Definite Time |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_PHIPTOC1_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
Time Dial
|  | ID_1 = Non Directional ID_2 = Forward ID_3 = Reverse | Directional | Fixed | Non Directional |  | Non Directional/ Forward/ Reverse
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
Neutral Overcurrent
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_DEFLPTOC1_MOD_OPER_CTLVAL & ID_LD0_DEFLPTOC2_MOD_OPER_CTLVAL & ID_LD0_DEFHPTOC1_MOD_OPER_CTLVAL & ID_LD0_EFHPTOC1_MOD_OPER_CTLVAL |  |  | On/Off
|  | Level x | [5 empty] | DEFLPDEF1: 1
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_DEFLPTOC1_MOD_OPER_CTLVAL |  |  | On/Off
|  |  | Start Value | ID_LD0_DEFLPTOC1_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_5 or ID_15 = Definite Time ID_9 = Normal Inverse ID_10 = Very Inverse ID_12 = Extremely Inverse | Characteristic | ID_LD0_DEFLPTOC1_TMACRV_SETCHARACT_SG_1 |  |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_DEFLPTOC1_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
|  |  | Time Dial | ID_LD0_DEFLPTOC1_TMMULT_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_1 = Non Directional ID_2 = Forward ID_3 = Reverse | Directional | ID_LD0_DEFLPTOC1_DIRMOD_SETVAL_SG_1 |  |  | Non Directional/ Forward/ Reverse
|  |  | Mode | ID_LD0_DEFLPTOC1_ARESSIGSEL_SETVAL |  |  | Caculated/ Measurement
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
|  | Level x | [5 empty] | DEFLPDEF2: 2
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_DEFLPTOC2_MOD_OPER_CTLVAL |  |  | On/Off
|  |  | Start Value | ID_LD0_DEFLPTOC2_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_5 or ID_15 = Definite Time ID_9 = Normal Inverse ID_10 = Very Inverse ID_12 = Extremely Inverse | Characteristic | ID_LD0_DEFLPTOC2_TMACRV_SETCHARACT_SG_1 |  |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_DEFLPTOC2_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
|  |  | Time Dial | ID_LD0_DEFLPTOC2_TMMULT_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_1 = Non Directional ID_2 = Forward ID_3 = Reverse | Directional | ID_LD0_DEFLPTOC2_DIRMOD_SETVAL_SG_1 |  |  | Non Directional/ Forward/ Reverse
|  |  | Mode | ID_LD0_DEFLPTOC2_ARESSIGSEL_SETVAL |  |  | Caculated/ Measurement
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
|  | Level x | [5 empty] | DEFHPDEF1: 1
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_DEFHPTOC1_MOD_OPER_CTLVAL |  |  | On/Off
|  |  | Start Value | ID_LD0_DEFHPTOC1_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_5 or ID_15 = Definite Time ID_9 = Normal Inverse ID_10 = Very Inverse ID_12 = Extremely Inverse | Characteristic | ID_LD0_DEFHPTOC1_TMACRV_SETCHARACT_SG_1 |  |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_DEFHPTOC1_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
|  |  | Time Dial | ID_LD0_DEFHPTOC1_TMMULT_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_1 = Non Directional ID_2 = Forward ID_3 = Reverse | Directional | ID_LD0_DEFHPTOC1_DIRMOD_SETVAL_SG_1 |  |  | Non Directional/ Forward/ Reverse
|  |  | Mode | ID_LD0_DEFHPTOC1_ARESSIGSEL_SETVAL |  |  | Caculated/ Measurement
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
|  | Level x | [5 empty] | EFHPTOC1: 1
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_EFHPTOC1_MOD_OPER_CTLVAL |  |  | On/Off
|  |  | Start Value | ID_LD0_EFHPTOC1_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_5 or ID_15 = Definite Time ID_9 = Normal Inverse ID_10 = Very Inverse ID_12 = Extremely Inverse | Characteristic | ID_LD0_EFHPTOC1_TMACRV_SETCHARACT_SG_1 |  |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_EFHPTOC1_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
|  |  | Time Dial | ID_LD0_EFHPTOC1_TMMULT_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_1 = Non Directional ID_2 = Forward ID_3 = Reverse | Directional | Fixed | Non Directional |  | Non Directional/ Forward/ Reverse
|  |  | Mode | ID_LD0_EFHPTOC1_ARESSIGSEL_SETVAL |  |  | Caculated/ Measurement
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
Negative Sequence Overcurrent
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_NSPTOC1_MOD_OPER_CTLVAL & ID_LD0_NSPTOC2_MOD_OPER_CTLVAL |  |  | On/Off
|  | Level x | [5 empty] | NSPTOC1: 1
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_NSPTOC1_MOD_OPER_CTLVAL |  |  | On/Off
|  |  | Start Value | ID_LD0_NSPTOC1_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_5 or ID_15 = Definite Time ID_9 = Normal Inverse ID_10 = Very Inverse ID_12 = Extremely Inverse | Characteristic | ID_LD0_NSPTOC1_TMACRV_SETCHARACT_SG_1 |  |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_NSPTOC1_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
|  |  | Time Dial | ID_LD0_NSPTOC1_STRVALMULT_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  |  | Directional |  |  |  | Non Directional/ Forward/ Reverse
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
|  | Level x | [5 empty] | NSPTOC2: 2
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_NSPTOC2_MOD_OPER_CTLVAL |  |  | On/Off
|  |  | Start Value | ID_LD0_NSPTOC2_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_5 or ID_15 = Definite Time ID_9 = Normal Inverse ID_10 = Very Inverse ID_12 = Extremely Inverse | Characteristic | ID_LD0_NSPTOC2_TMACRV_SETCHARACT_SG_1 |  |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_NSPTOC2_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
|  |  | Time Dial | ID_LD0_NSPTOC2_STRVALMULT_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  |  | Directional |  |  |  | Non Directional/ Forward/ Reverse
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
Phase Undervoltage
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_PHPTUV1_MOD_OPER_CTLVAL & ID_LD0_PHPTUV2_MOD_OPER_CTLVAL & ID_LD0_PHPTUV3_MOD_OPER_CTLVAL |  |  | On/Off
|  | Level x | [5 empty] | PHPTUV1: 1
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_PHPTUV1_MOD_OPER_CTLVAL |  |  | On/Off
|  |  | Start Value | ID_LD0_PHPTUV1_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_5 or ID_15 = Definite Time ID_9 = Normal Inverse ID_10 = Very Inverse ID_12 = Extremely Inverse | Characteristic | ID_LD0_PHPTUV1_TMVCRV_SETCHARACT_SG_1 |  |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_PHPTUV1_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
|  |  | Time Dial | ID_LD0_PHPTUV1_TMMULT_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  |  | Mode | ID_LD0_PHPTUV1_VSEL_SETVAL |  |  | Phase to phase/ Phase to ground
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
|  | Level x | [5 empty] | PHPTUV2: 2
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_PHPTUV2_MOD_OPER_CTLVAL |  |  | On/Off
|  |  | Start Value | ID_LD0_PHPTUV2_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_5 or ID_15 = Definite Time ID_9 = Normal Inverse ID_10 = Very Inverse ID_12 = Extremely Inverse | Characteristic | ID_LD0_PHPTUV2_TMVCRV_SETCHARACT_SG_1 |  |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_PHPTUV2_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
|  |  | Time Dial | ID_LD0_PHPTUV2_TMMULT_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  |  | Mode | ID_LD0_PHPTUV2_VSEL_SETVAL |  |  | Phase to phase/ Phase to ground
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
|  | Level x | [5 empty] | PHPTUV3: 3
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_PHPTUV3_MOD_OPER_CTLVAL |  |  | On/Off
|  |  | Start Value | ID_LD0_PHPTUV3_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_5 or ID_15 = Definite Time ID_9 = Normal Inverse ID_10 = Very Inverse ID_12 = Extremely Inverse | Characteristic | ID_LD0_PHPTUV3_TMVCRV_SETCHARACT_SG_1 |  |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_PHPTUV3_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
|  |  | Time Dial | ID_LD0_PHPTUV3_TMMULT_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  |  | Mode | ID_LD0_PHPTUV3_VSEL_SETVAL |  |  | Phase to phase/ Phase to ground
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
Phase Overvoltage
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_PHPTOV1_MOD_OPER_CTLVAL & ID_LD0_PHPTOV2_MOD_OPER_CTLVAL & ID_LD0_PHPTOV3_MOD_OPER_CTLVAL |  |  | On/Off
|  | Level x | [5 empty] | PHPTOV1: 1
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_PHPTOV1_MOD_OPER_CTLVAL |  |  | On/Off
|  |  | Start Value | ID_LD0_PHPTOV1_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_5 or ID_15 = Definite Time ID_9 = Normal Inverse ID_10 = Very Inverse ID_12 = Extremely Inverse | Characteristic | ID_LD0_PHPTOV1_TMVCRV_SETCHARACT_SG_1 |  |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_PHPTOV1_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
|  |  | Time Dial | ID_LD0_PHPTOV1_TMMULT_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  |  | Mode | ID_LD0_PHPTOV1_VSEL_SETVAL |  |  | Phase to phase/ Phase to ground
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
|  | Level x | [5 empty] | PHPTOV2: 2
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_PHPTOV2_MOD_OPER_CTLVAL |  |  | On/Off
|  |  | Start Value | ID_LD0_PHPTOV2_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_5 or ID_15 = Definite Time ID_9 = Normal Inverse ID_10 = Very Inverse ID_12 = Extremely Inverse | Characteristic | ID_LD0_PHPTOV2_TMVCRV_SETCHARACT_SG_1 |  |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_PHPTOV2_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
|  |  | Time Dial | ID_LD0_PHPTOV2_TMMULT_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  |  | Mode | ID_LD0_PHPTOV2_VSEL_SETVAL |  |  | Phase to phase/ Phase to ground
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
|  | Level x | [5 empty] | PHPTOV3: 3
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_PHPTOV3_MOD_OPER_CTLVAL |  |  | On/Off
|  |  | Start Value | ID_LD0_PHPTOV3_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_5 or ID_15 = Definite Time ID_9 = Normal Inverse ID_10 = Very Inverse ID_12 = Extremely Inverse | Characteristic | ID_LD0_PHPTOV3_TMVCRV_SETCHARACT_SG_1 |  |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_PHPTOV3_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
|  |  | Time Dial | ID_LD0_PHPTOV3_TMMULT_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  |  | Mode | ID_LD0_PHPTOV3_VSEL_SETVAL |  |  | Phase to phase/ Phase to ground
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
Neutral Overvoltage
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_ROVPTOV1_MOD_OPER_CTLVAL & ID_LD0_ROVPTOV2_MOD_OPER_CTLVAL & ID_LD0_ROVPTOV3_MOD_OPER_CTLVAL |  |  | On/Off
|  | Level x | [5 empty] | ROVPTOV1: 1
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_ROVPTOV1_MOD_OPER_CTLVAL |  |  | On/Off
|  |  | Start Value | ID_LD0_ROVPTOV1_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_5 or ID_15 = Definite Time ID_9 = Normal Inverse ID_10 = Very Inverse ID_12 = Extremely Inverse | Characteristic | Fixed | Definite Time |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_ROVPTOV1_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
Time Dial
|  |  | Mode | ID_LD0_ROVPTOV1_VRESSIGSEL_SETVAL |  |  | Caculated/ Measurement
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
|  | Level x | [5 empty] | ROVPTOV2: 2
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_ROVPTOV2_MOD_OPER_CTLVAL |  |  | On/Off
|  |  | Start Value | ID_LD0_ROVPTOV2_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_5 or ID_15 = Definite Time ID_9 = Normal Inverse ID_10 = Very Inverse ID_12 = Extremely Inverse | Characteristic | Fixed | Definite Time |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_ROVPTOV2_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
Time Dial
|  |  | Mode | ID_LD0_ROVPTOV2_VRESSIGSEL_SETVAL |  |  | Caculated/ Measurement
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
|  | Level x | [5 empty] | ROVPTOV3: 3
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_ROVPTOV3_MOD_OPER_CTLVAL |  |  | On/Off
|  |  | Start Value | ID_LD0_ROVPTOV3_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  | ID_5 or ID_15 = Definite Time ID_9 = Normal Inverse ID_10 = Very Inverse ID_12 = Extremely Inverse | Characteristic | Fixed | Definite Time |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_ROVPTOV3_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
Time Dial
|  |  | Mode | ID_LD0_ROVPTOV3_VRESSIGSEL_SETVAL |  |  | Caculated/ Measurement
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
Under Frequency
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_FRPTRC1_MOD_OPER_CTLVAL & ID_LD0_FRPTRC2_MOD_OPER_CTLVAL & ID_LD0_FRPTRC3_MOD_OPER_CTLVAL |  |  | On/Off
|  | Level x | [5 empty] | FRPFRQ1: 1
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_FRPTRC1_MOD_OPER_CTLVAL |  |  | On/Off
|  | ID_1 = On, khác ID_1 = Off |  | ID_LD0_FRPTRC1_OPMODPROHZ_SETVAL_SG_1
|  |  | Start Value | ID_LD0_FRPTUF1_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  |  | Characteristic | Fixed | Definite Time |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_FRPTOF1_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
Time Dial
|  |  | Ulow Block | Manual
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
|  | Level x | [5 empty] | FRPFRQ2: 2
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_FRPTRC2_MOD_OPER_CTLVAL |  |  | On/Off
|  | ID_1 = On, khác ID_1 = Off |  | ID_LD0_FRPTRC2_OPMODPROHZ_SETVAL_SG_1
|  |  | Start Value | ID_LD0_FRPTUF2_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  |  | Characteristic | Fixed | Definite Time |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_FRPTOF2_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
Time Dial
|  |  | Ulow Block | Manual
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
|  | Level x | [5 empty] | FRPFRQ2: 2
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_FRPTRC3_MOD_OPER_CTLVAL |  |  | On/Off
|  | ID_1 = On, khác ID_1 = Off |  | ID_LD0_FRPTRC3_OPMODPROHZ_SETVAL_SG_1
|  |  | Start Value | ID_LD0_FRPTUF3_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  |  | Characteristic | Fixed | Definite Time |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_FRPTOF3_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
Time Dial
|  |  | Ulow Block | Manual
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
Over Frequency
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_FRPTRC1_MOD_OPER_CTLVAL & ID_LD0_FRPTRC2_MOD_OPER_CTLVAL & ID_LD0_FRPTRC3_MOD_OPER_CTLVAL |  |  | On/Off
|  | Level x | [5 empty] | FRPFRQ1: 1
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_FRPTRC1_MOD_OPER_CTLVAL |  |  | On/Off
|  | ID_2 = On, khác ID_2 = Off |  | ID_LD0_FRPTRC1_OPMODPROHZ_SETVAL_SG_1
|  |  | Start Value | ID_LD0_FRPTOF1_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  |  | Characteristic | Fixed | Definite Time |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_FRPTOF1_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
Time Dial
|  |  | Ulow Block | Manual
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
|  | Level x | [5 empty] | FRPFRQ2: 2
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_FRPTRC2_MOD_OPER_CTLVAL |  |  | On/Off
|  | ID_2 = On, khác ID_2 = Off |  | ID_LD0_FRPTRC2_OPMODPROHZ_SETVAL_SG_1
|  |  | Start Value | ID_LD0_FRPTOF2_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  |  | Characteristic | Fixed | Definite Time |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_FRPTOF2_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
Time Dial
|  |  | Ulow Block | Manual
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
|  | Level x | [5 empty] | FRPFRQ3: 3
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_FRPTRC3_MOD_OPER_CTLVAL |  |  | On/Off
|  | ID_2 = On, khác ID_2 = Off |  | ID_LD0_FRPTRC3_OPMODPROHZ_SETVAL_SG_1
|  |  | Start Value | ID_LD0_FRPTOF3_STRVAL_SETMAG_F_SG_1 |  |  | MinValue - MaxValue
|  |  | Characteristic | Fixed | Definite Time |  | Definite Time/ Normal Inverse/ Very Inverse/ Extremely Inverse
|  |  | Delay Time | ID_LD0_FRPTOF3_OPDLTMMS_SETVAL_SG_1 |  |  | MinValue - MaxValue
Time Dial
|  |  | Ulow Block | Manual
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
| Breaker Failure | [6 empty] | CCBRBRF1: 1
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_CCBRBRF1_MOD_OPER_CTLVAL |  |  | On/Off
|  |  | Phase Current Int | ID_LD0_CCBRBRF1_DETVALA_SETMAG_F |  |  | MinValue - MaxValue
|  |  | Neutral Current Int | ID_LD0_CCBRBRF1_DETVALARES_SETMAG_F |  |  | MinValue - MaxValue
|  | ID_1 = Current ID_2 = CB Status ID_3 = All | Mode | ID_LD0_CCBRBRF1_FAILMOD_SETVAL |  |  | Current/CB Status/All
|  |  | Retrip Delay Time | ID_LD0_CCBRBRF1_TPTRTMMS_SETVAL |  |  | MinValue - MaxValue
|  |  | Backup Trip Delay Time | ID_LD0_CCBRBRF1_FAILTMMS_SETVAL |  |  | MinValue - MaxValue
|  |  | Trip/Alarm | Selected/Default Value | Trip |  | Trip/Alarm
|  |  | Initiate AR | Selected/Default Value | No |  | Yes/No
| Autoreclose | [6 empty] | DARREC1: 1
|  | ID_1 = On, ID_5 = Off | Operation | ID_LD0_DARREC1_MOD_OPER_CTLVAL |  |  | On/Off
|  |  | Number of Shot | ID_LD0_DARREC1_SHOTNUM1_SETVAL |  |  | MinValue - MaxValue
|  |  | Deadtime | ID_LD0_DARREC1_REC1TMMS1_SETVAL |  |  | MinValue - MaxValue
|  |  | Reclaim Time | ID_LD0_DARREC1_RCLTMMS_SETVAL |  |  | MinValue - MaxValue
|  |  | Initiate Signals | Auto Display Based-on Initiate AR
|  |  | Lockout Signals | Auto Display Based-on Initiate AR
Group 2 (tương tự Group 1)
Group 3
...
Note on G27: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H27: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H36: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H45: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H54: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H65: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H75: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H85: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H95: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H107: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H116: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H127: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H136: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H145: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H156: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H165: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H174: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H185: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H194: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H203: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H215: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H225: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H235: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H247: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H257: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11
Note on H267: My Admin: Defined Time: ID_15 Normal Inverse: ID_9 Very Inverse: ID_10 Extremely inverse: ID_11

## Logic REF615
Logic về sắp xếp các Level | Value Quét giá trị "Value" trong file XRIO | Unit Quét giá trị "Unit" trong file XRIO | Range Quét 2 giá trị "MinValue" và "MaxValue" trong file XRIO Range = "MinValue" - "MaxValue" | Logic
Phase Overcurrent
Các FG có Operation = On ở mục Visible Parameters Các FG có Operation = On ở mục Hidden Parameters
Value nhỏ hơn thì xếp Function Group tương ứng vào Level nhỏ hơn
Neutral Overcurrent
Các FG có Operation = On ở mục Visible Parameters Các FG có Operation = On ở mục Hidden Parameters
Value nhỏ hơn thì xếp Function Group tương ứng vào Level nhỏ hơn
Negative Sequence Overcurrent
Các FG có Operation = On ở mục Visible Parameters Các FG có Operation = On ở mục Hidden Parameters
Value nhỏ hơn thì xếp Function Group tương ứng vào Level nhỏ hơn
Phase Undervoltage |  |  |  | Logic
Các FG có Operation = On ở mục Visible Parameters Các FG có Operation = On ở mục Hidden Parameters
Value nhỏ hơn thì xếp Function Group tương ứng vào Level lớn hơn
Phase Overvoltage
Các FG có Operation = On ở mục Visible Parameters Các FG có Operation = On ở mục Hidden Parameters
Value nhỏ hơn thì xếp Function Group tương ứng vào Level nhỏ hơn
Under Frequency
Các FG có Operation = On ở mục Visible Parameters Các FG có Operation = On ở mục Hidden Parameters
Value nhỏ hơn thì xếp Function Group tương ứng vào Level lớn hơn
Over Frequency
Các FG có Operation = On ở mục Visible Parameters Các FG có Operation = On ở mục Hidden Parameters
Value nhỏ hơn thì xếp Function Group tương ứng vào Level nhỏ hơn
Logic khi có 2 group trở lên
Sau khi Import file XRIO lần đầu, mặc định sẽ có 2 trường thông tin là IED Information & Parameter Setting
IED Information thiết kế tương tự như IED Properties (PCM 600)
Parameter Setting sẽ chỉ hiển thị khi ấn chuột phải vào IED - chọn Parameter Setting
Parameter Settings có 2 trường thông tin con mặc định ban đầu:
System Settings
Group 1
Khi có 2 group, cho phép người dùng add thêm group = cách chuột phải vào tên IED - Add Group Các ID của từng function sẽ đổi đuôi từ SG_1 sang SG_2, SG_3, SG_4,... Tương ứng theo số hiệu của Group
Group 2
Group 3
Group 4