## Job
Job
General |  | Location |  | Asset
Name | Thí nghiệm định kỳ 2023 | Name | Sample location | Asset | Transformer
File name | TESTRANO demo.xlsx | Address |  | Asset type | Two-winding
Creation date | 23/08/2016 | City |  | Serial number | Sample TESTRANO
Execution date |  | State/Province |  | Manufacturer | ELIN
Tested by |  | Postal code
Approved by |  | Country
Approval date

## Asset
Transformer
Overview
Asset |  | Transformer |  |  | Comment
Asset type |  | Two-winding
Serial number |  | VN1866
Manufacturer |  | ABB
Manufacturer type |  | CCV145
Manufacturing year |  | 2021
Asset system code
Apparatus ID
Feeder
Winding configuration
Phases | 3
| Vector group | Phase shift
YND11
Unsupported vector group (for documentation):
Ratings
Rated frequency |  | 50 |  | Hz
Voltage ratings
Winding | Voltage L-L [V] | Voltage L-N [V] | Insul. level L-LL (BIL) [V] | Comments
Prim | 115000 | 63508.5296
Sec | 23000
Power ratings
Rated power [VA] | Cooling class | Temp. rise wind.
40000 | ONAN
Rated current at rated voltage
Prim [A] | Sec [A] | Tert [A] | Rated power [VA]
63 | 653.5
Short-circuit rating
Max. short-circuit current |  |  |  | A
Max. short-circuit duration |  |  |  | s
Impedances
Reference temperature |  | 75 |  | °C
Position |  |  | uk[%] | Base power [VA] | Base voltage [V] | Load losses PK [W] | OLTC position | DETC position
Short-circuit impedance Prim - Sec |  |  | 9.45 | 12000000 | 126200 |  | 1
Short-circuit impedance Prim - Sec |  |  | 8.45 | 12000000 | 110000 |  | 13b
Short-circuit impedance Prim - Sec |  |  | 8.15 | 12000000 | 93800 |  | 25
Zero sequence impedance
Base power |  |  |  | VA
Base voltage |  |  |  | V
Winding | Zero sequence impedance Z0
Prim
Others
Category |  | Transmission
Status |  | In operation
Tank type |  | Free breathing
Insulation medium |  | Mineral oil
Insulation |  | Weight
Insulation weight |  |  |  | kg
Insulation volume |  |  |  | l
Total weight |  | 42400 |  | kg
Winding | Conductor material
Prim | Copper
Sec | Copper
Bushings
Position | Asset type | Serial number | Manufacturer | Manufacturer type | Manufacturing year | Insul. level LL (BIL) [V] | Voltage L-ground [V] | Max. system voltage [V] | Rated current [A] | DF (C1) | Cap (C1) [F] | DF (C2) | Cap (C2) [F] | Insulation type
Primary
A | With test tap | HL95 | MICAFIL | RTZF |  | 550000 | 123000 | 230000 | 135 |  |  |  |  | Resin-impregnated paper
B | With test tap | 9382719 | HSP | ET-550/123-4 | 1993 | 550000 | 123000 | 230000 | 1350 |  |  |  |  | Oil-impregnated paper
C | With test tap | HL8250702 | MICAFIL | CTKF |  | 650000 | 145000 |  | 630 |  |  |  |  | Resin-impregnated paper
N | Without tap | 7405559 | MICAFIL | 123 |  | 550000 | 123000 |  | 400 |  |  |  |  | Resin-bonded paper
Secondary
a1
b1
c1
Tertiary
Tap changers
OLTC
Enabled |  | Yes |  |  | Tap changer configuration
Serial number |  | 437007 |  |  | Winding |  | Prim
Manufacturer |  | Maschinenring Rheinhausen |  |  | Tap scheme |  | 1...33
Manufacturer type |  | DIII |  |  | Number of taps |  | 27
Voltage table
Tap | Voltage [V]
1 | 133423
2 | 131376
3 | 129329
4 | 127282
5 | 125235
6 | 123188
7 | 121141
8 | 119094
9 | 117047
10 | 115000
11 | 112953
12 | 110906
13 | 108859
14 | 106812
15 | 104965
16 | 102718
17 | 100671
18 | 98624
19 | 96577
DETC
Enabled |  | No |  |  | Tap changer configuration
Serial number |  |  |  |  | Winding |  | Prim
Manufacturer |  |  |  |  | Tap scheme |  | 1...N
Manufacturer type |  |  |  |  | Number of taps |  | 0
[5 empty] | Current tap position |  | 0
Voltage table
Tap | Voltage []
Surge arresters

## Location
Location
General |  | Contact person | Company
Name | Nhà máy điện gió số 7 (test) | Name | Company | Công ty Cổ phần năng lượng Sóc Trăng
Region |  | Phone no. 1 | Department
Division |  | Phone no. 2 | Address | Tỉnh Sóc Trăng
Area |  | E-mail | City | Klaus
Plant |  |  | State/Province | Vorarlberg
Address | Tỉnh Sóc Trăng |  | Postal code | 6833
City |  |  | Country | Việt Nam
State/Province |  |  | Phone no.
Postal code |  |  | E-mail
Country
Geo coordinates

## Tests
CÔNG TY CỔ PHẦN CÔNG NGHỆ NĂNG LƯỢNG AT
AT ENERGY JOINT STOCK COMPANY
Địa chỉ: G2 Pandora, 53 Triều Khúc, Phường Thanh Xuân Nam, Quận Thanh Xuân, Hà Nội, Việt Nam
Điện thoại: +84 24 6683 0230 |  |  |  |  | Fax: +84 24 3566 8682
Email: ATDigital@AT-Energy.vn |  |  |  |  | Website: https://automationandtesting.vn/
BIÊN BẢN THỬ NGHIỆM MÁY BIẾN ÁP
Số: BBTN/MBA/123455
I. THÔNG SỐ CHUNG
Khách hàng
Kiểu máy
| Công suất (MVA) |  | #B12 |  | Số serial: | #B3
| Số pha |  | #B7 |  | Điện áp phía cao (kV) | #B11
| Tần số (Hz) |  | #B9 |  | Điện áp phía hạ (kV) | #B111
| Tổ đấu dây |  | #B8 |  | Dòng điện phía cao (A) | #B14
| Loại dầu |  | #B54 |  | Dòng điện phía hạ (A) | #B15
| Kiểu làm mát |  | #B13 |  | Điều kiện môi trường
| Số nấc phân áp |  | #B51 |  | ▪ Nhiệt độ
| Tình trạng |  | #B55 |  | ▪ Độ ẩm
| Ngày thử nghiệm |  | #C3
Nơi thử nghiệm
II. CÁC HẠNG MỤC THỬ NGHIỆM
| 1. Đo điện dung và tổn hao điện môi (Dissipation factor and capacitance measurement) | [5 empty] | þ
| 2. Đo tỷ số điện áp (Ratio test) | [5 empty] | þ
| 3. Đo điện trở một chiều cuộn dây (DC winding resitance measurement). | [5 empty] | þ
| Phương pháp thử |  | #C7
| Kết luận |  | Các hạng mục đã thử nghiệm đạt yêu cầu kỹ thuật
| Người thử nghiệm |  |  |  | Phê duyệt
| Nguyễn Văn A |  |  |  | Nguyễn Văn B
III. KẾT QUẢ THỬ NGHIỆM
1. Đo điện dung và tổn hao điện môi (Dissipation factor and capacitance measurement)
| STT | Phép đo | Sơ đồ | Điện áp thử (kV) | Tan delta (%) | Điện dung (pF) | Đánh giá
| 1 | #G1 | #G2 | #G3 | #G4 | #G5 | #G6
| 2 | #G1 | #G2 | #G3 | #G4 | #G5 | #G6
| 3 | #G1 | #G2 | #G3 | #G4 | #G5 | #G6
| 4 | #G1 | #G2 | #G3 | #G4 | #G5 | #G6
2. Đo tỷ số điện áp (Ratio test)
| Nấc | Pha | Tỷ số định mức | Tỷ số đo được | Độ lệch tỷ số (%) | Đánh giá
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
| #F1 | #F2 | #F7 | #F4 | #F6 | #F5
3. Đo điện trở một chiều cuộn dây (DC winding resitance measurement)
3.1. Phía cao
| Nấc | Cuộn dây | Điện trở đo được (Ω) | Độ lệch điện trở (%) | Điện trở quy đổi (Ω) | Đánh giá
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
| #D1 | #D2 | #D3 | #D5 | #D6 | #D4
3.2. Phía hạ
| Nấc | Cuộn dây | Điện trở đo được (Ω) | Độ lệch điện trở (%) | Điện trở quy đổi (Ω) | Đánh giá
| 1 | #E1 | #E2 | #E4 | #E5 | #E3
| 1 | #E1 | #E2 | #E4 | #E5 | #E3
| 1 | #E1 | #E2 | #E4 | #E5 | #E3